## Slide 1: Hydrogeneration Optimization Team (HOT) JOC Brief
George Brown, BPA
Larry Haas, Corps
Bent Mouritsen, Reclamation
HOT, Co-Chairs
21 May 2013

## Slide 2: HOT Long Term Direction
The team will continue to pursue hydropower optimization initiatives such as:
Share knowledge, experiences, and optimization products between BPA, the COE, and the BOR.
Further develop knowledge of unit specific performance. Pursue Kaplan type turbine Gate Blade Optimization (GBO)(T1) efforts to inform and improve plant optimization (T2) by creating unit specific performance data. This will allow higher plant efficiencies.
Investigate/share stand alone optimization software to be used at smaller plants that don’t have GDACS and T2 optimization software.
Support GDACS efforts at the WVY projects and aid incorporation of T2 optimization software.
3D Cam surveys to assure proper operation of the 3D cams.
Unit and plant efficiency audits. Develop a method and routine for regularly checking unit operation vs. optimal operation.

## Slide 3: HOT FY13 Activities
CORPS GDACS team and Reclamation are working together to share the Optimization Type 2 (T2) algorithm in developing stand-alone plant optimization software for plants (Black Canyon) not on GDACS.
Preliminary GBO (Gate Blade Optimizer) analysis indicates significantly better data collection results with GBO integrated into the new digital governor software at The Dalles.
CORPS subagreement amendment for realignment of existing funding within the Power Plant Efficiency Improvement (PPEI) subagreement.

## Slide 4: HOT FY14 Plan
Prove GBO concept on one unit at The Dalles by producing new CAM table and then begin production mode by moving more GBO’s to The Dalles for data collection, unit by unit, and development of individual unit performance curves.
Follow plants with new digital governors and begin GBO at Bonneville and John Day Projects.
Annual 3D Cam operation survey to verify units are operating efficiency as intended.
HOT meeting in fall to adopt revised charter coordinated with three agencies to include Reclamation.